## Slide 1
Presentation
Jiayu Chen
2024.01.15

## Slide 2
Work Description
Part_1: Detailed Introduction to the BSG Signal Processing Workflow:
                Signal Preprocessing
                Segmentation and Realignment
                Template Calculation and Quality Assessment
                Feature Extraction
                Prediction
Part_2: Attempts based on the given suggestions, including Matched Filter, SG Filter, and differentiation
Part_3: A Brief Explanation of the FMM Algorithm
Part_4: Problems

## Slide 3
Part_1

## Slide 4
Signal Preprocessing
The impact of breathing on the amplitude of peaks in the template can be mitigated by using an appropriate averaging algorithm (DBA).
Time Series Averaging has been proven to be an NP-Complete problem, and DBA algorithm functions as an approximation to compute a local optimal solution on the gradient.
Why the algorithm can eliminate the influence of breathing might be explained intuitively clear.
Previous
Codes: Implemented by myself from the paper IoT2023
Standard: The strategy is too strict.
Result: 4672 -> 472
It is necessary to establish appropriate criteria and then add another round of filtering to ensure the quality of signals.
The criteria for this filtering have been found. Details will be provided later.
Now
Codes: Provided by Yingjian
(BCG_Preprocessing.py)
Standard: The strategy is different from the paper, being more lenient.
Result:4672 -> 4524
Problem_1: Filter out signals of poor quality
Problem_2: How to deal with the breathing?
Simulated SCG | Method | S | D
No RR/With RR | No Template | 0.79/0.91 | 1.79/3.38
No RR/With RR | Mean | 1.35/1.20 | 4.53/4.81
No RR/With RR | DBA | 2.05/1.73 | 3.43/3.13
      Preprocessing
      Segmentation
      Template
Realignment
      Feature Extraction
      Prediction
Notes: 之前的通过复现论文“”实现了信号质量检测，并过滤掉质量差的信号。
论文中的过滤方法似乎有一些太过严格了 4672条信号筛选结束满足条件的大致472条信号。
然后拿到了Yingjian学长的源代码，里面的那个质量评估函数。它的评估策略比我复现出来的代码要松不少，4672信号还剩下4524条信号。
我采用了Yingjian的预处理方式。
从能够用来预测呼吸和心跳的信号，比能用来提取模板的信号，要更加的杂乱一些。
我和Song老师在上次会议时认为，需要确立合适的标准，再增加一轮的筛选，从而确保信号的质量。
这个筛选的标准，已经解决了，我后面会详细的说

## Slide 5
Challenges encountered in BSG signals are as follows
Compared to simulated SCG signals, The initial section of the signal is often problematic, with periodic incompleteness.
Waveforms sometimes resemble SCG, sometimes resemble BCG, and occasionally fall between the two.
BSG Signals are multi-peaked, and the amplitudes of peaks within each cycle are not consistent. Unlike SCG or ECG signals, there is no fixed main peak.
BCG
SCG
      Preprocessing
      Segmentation
      Template
Realignment
      Feature Extraction
      Prediction
      Segmentation
Notes: 挑战1意味着我们设计的分割算法，是能使用在不同类型的信号之上
挑战2意味着，不能像通常那样，定位信号中的一个主峰，然后依据主峰进行分割

## Slide 6
I attempted to extend an approach presented by Yingjian Song in IoT2023.
While this method is sufficient for estimating heart rate, it is not adequate for accurate segmentation, leading to the following two issues:
Significant and unmanageable errors, making alignment difficult.
The resulting segments are not the desired cycles after the split.
Hilbert transform for envelope
Savitzky-Golay filter
Peak Detection
ACF
Segmentation
Signal
We get
We want
      Preprocessing
      Segmentation
      Template
Realignment
      Feature Extraction
      Prediction
      Segmentation

## Slide 7
Solution approach:
Transform the multi-peak signal in time domain into a single-peak problem in another domain, and ensure that this single peak is relatively fixed within each cycle.
Upon observation, the distribution of energy density within a single cycle of the signal is often relatively stable.
Transforming the multi-peak signal in the time domain into a single-peak problem in the energy density domain.
      Preprocessing
      Segmentation
      Template
Realignment
      Feature Extraction
      Prediction
      Segmentation
Notes: 与希尔伯特变化所取的包络线相比，这种方法有一个非常明确的物理含义，对于某一类周期信号，每个周期中能量集中的位置，是相对稳定的

## Slide 8
      Preprocessing
      Segmentation
      Template
Realignment
      Feature Extraction
      Prediction
      Re-alignment
The distribution of energy density is often relatively stable, but not completely identical.
To enhance precision, it is necessary to re-align the signals that have already been segmented.
One-circle pieces
Linear Realignment
Non-Linear Realignment
Linear Alignment -> O(T)
Non-Linear Alignment -> O(T^2)
Acceptable
Unacceptable
There is no need for us.
With phase variation
Without phase variation

## Slide 9
Choose one piece x from N pieces X
Cross Correlation between x and X[1]
Add the Cross Correlation results from N-1 times
Find the appropriate time unit for lag.
Realign piece x.
Re-aligned pieces
Start
Time complexity O(N^3), where N represents the average length of a single cycle.
This algorithm is guaranteed to converge.
Cross Correlation between x and X[N-1]
      Preprocessing
      Segmentation
      Template
Realignment
      Feature Extraction
      Prediction
      Re-alignment

## Slide 10
More Figures can be found here:
https://github.com/A-Big-Tortoise/Presentation/tree/main/Pics/Segmentation
      Preprocessing
      Segmentation
      Template
Realignment
      Feature Extraction
      Prediction
      Re-alignment

## Slide 11
What kind of signal can extract high-quality template?
Can we check the quality of signals before obtaining the template?
Statistical measurement
Experience-based strategy
If … Else
Yes
No
How to assess whether a template is good or not?
How to eliminate some bad cycles?
Whether the re-alignment is successful can be used to assess the quality of the template.
< Threshold
Low Quality
> Threshold
High Quality
https://github.com/A-Big-Tortoise/Presentation/tree/main/Pics/QualityAssessment4Template
      Preprocessing
      Segmentation
      Template
Realignment
      Feature Extraction
      Prediction
      Template and its Quality
Is this signal high-quality for the task of extracting a template?
Template = Mean( Cycles )
Notes: 这个问题能不能在信号预处理的时候解决？
每个周期之间差异很大
进一步处理，删除掉一些差异很大的周期，进一步过滤信号

## Slide 12
Utilize Tsfresh to extract over 800 features from the template.
Feature cleaning
Drop NaN
Drop features with very small variance.
Drop features with a correlation lower than 0.2.
Linear Regression
CatBoost
      Preprocessing
      Segmentation
      Template
Realignment
      Feature Extraction
      Prediction
      Feature Extraction
Linear Regression
CatBoost

## Slide 13
IJK Extraction
With the assumption of the biggest peak is J peak
I和K峰的相对高度有问题
      Preprocessing
      Segmentation
      Template
Realignment
      Feature Extraction
      Prediction
      Feature Extraction
      IJK Feature = (JK -IJ)/IJ
      JK > IJ

## Slide 14
      Preprocessing
      Segmentation
      Template
Realignment
      Feature Extraction
      Prediction
      Feature Extraction

## Slide 15
      Preprocessing
      Segmentation
      Template
Realignment
      Feature Extraction
      Prediction
      Feature Extraction
有一些相关性，但还是远远不够，离准确预测还差很远

## Slide 16
Part_2

## Slide 17
Matched Filter

## Slide 18
SG Filter

## Slide 19
Differentiation:

## Slide 20
Part_3

## Slide 21
Why doesn’t FMM work
Advantages of FMM (from emails by authors):
“particularly when dealing with pronounced spike waves”
“The FMM model is specifically effective at identifying high peaks against the background noise”
“to detect other less prominent peaks more components could be added.”
Disadvantages of FMM (from the demo code):
We must decompose a single-cycle signal into a large number of components, if we want to focus on smaller peaks.
After decomposition, the relationship between these components becomes chaotic. There is a loss of interpretability in decomposed components.
We can only use FMM to denoise one-circle signal.

## Slide 22
Why doesn’t FMM work
We need to decompose a single-cycle signal into a large number of components, if we want to focus on smaller peaks.
There is almost no interpretability in decomposed components.

## Slide 23
Questions
Prof. Xie's views on what I'm currently working on: * In his understanding, my research should lean more towards theory. He suggests referencing statistical signal processing. * He is somewhat against the design process.
Next, what should be the next steps? Should I continue extracting features? Does this feature extraction step require collaboration with Yi Da?
I previously collaborated with Professor Xie on a paper. And in the last six months, I have been busy with my Ph.D. application. Now, I might need to spend a amount of time completing that paper. The acceptance of this paper is crucial for the nomination of an outstanding graduation project at the provincial level.
Notes: 1. 你的降噪方法，它是最优的，可以数学上证明出来，是无偏的，等等
2.设计流程，你如何说明你设计的流程是有效；仅仅在数据集上测试效果好是没有价值的，没法说明你流程的设计是最优的；总结一下就是说：流程设计不是很general，没有学术价值。他已经不止一次和我说这个事情了
我的观点是这样，
首先，我认为，如果能从理论上证明最优，那必定是最好的。这个可能是最终目标，但是作为我毕业论文的目标感觉不太合适.
这个事情呢，谢老师已经说了好几次了，所以统计信号处理也要学一些，我把它作为对照实验补充进去。
但是呢，我和他解释了好几遍了，谢老师他总是认为我在做降噪，他不是特别了解我们在干什么。而且，他本身没有学过统计信号处理，只有一个很笼统的印象。在这种情况下，他如果要求换方向，我是不能接受的。

## Slide 24
Thanks!